{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":49,"n_cols":6,"rows_kept":49,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","CTXA-CB"]
[]
[]
[]
[]
["","","","","","CTXA15C2V1BB"]
["Opgenomen vermogen","Koelen","","Nom.","kW","0.020"]
["","Verwarmen","","Nom.","kW","0.020"]
["Behuizing","Colour","","","","Zwart"]
["Afmetingen","Unit","","Hoogte","mm","295"]
["","","","Breedte","mm","798"]
["","","","Diepte","mm","189"]
["Gewicht","Unit","","","kg","11.5"]
["Ventilator","Luchtdebiet","Koelen","Hoog","m³/min","11.0"]
["","","","Middelhoog","m³/min","8.2"]
["","","","Laag","m³/min","6.1"]
["","","","Fluisterstille werking","m³/min","4.6"]
["","","Verwarmen","Hoog","m³/min","10.9"]
["","","","Middelhoog","m³/min","8.7"]
["","","","Laag","m³/min","6.4"]
["","","","Fluisterstille werking","m³/min","4.5"]
["Geluidsvermogenniveau","Koelen","","","dBA","57"]
["Geluidsdrukniveau","Koelen","","Hoog","dBA","39"]
["","","","Middelhoog","dBA","32"]
["","","","Laag","dBA","25"]
["","","","Fluisterstille werking","dBA","21"]
["","Verwarmen","","Hoog","dBA","39"]
["","","","Middelhoog","dBA","32"]
["","","","Laag","dBA","25"]
["","","","Fluisterstille werking","dBA","21"]
["Koelmiddel","GWP","","","","675.0"]
["Piping connections","Vloeistof","","Buitendiameter","mm","6.35"]
["","Gas","","Buitendiameter","mm","9.50"]
["","Afvoer","","","","18"]
["Regelsystemen","Infrared remote control","","","","ARC466A85"]
["","Wired remote control","","","","BRC073A1"]
["Standaard-accessoires","Montagehandleiding","","","","1"]
["","Bedieningshandleiding","","","","1"]
["","Luchtfilter","","","","2"]
["","Infrarood-afstandsbediening","","","","1"]
["","Montageplaat afstandsbediening","","","","1"]
["","Zakje schroeven","","","","1"]
["","Schroefdeksel","","","","2"]
["","AAA drogecelbatterij","","","","2"]
["","Algemene voorzorgsmaatregelen","","","","1"]
["Power supply","Naam","","","","V1"]
["","Phase","","","","1~"]
["","Frequentie","","","Hz","50"]
["","Spanning","","","V","220-240"]